## Sheet1
LCSB number | Equipment type | Stand by mode (Wh) | Stand by mode for 1 day (Wh) | Running (Wh) | keep always on
LCSB00990 | Water Bath JBN 26 Grant (with beads) | 4 | 96 |  | turn off when not in use
LCSB00653 | BSC Kojair SL130 | 18.5 | 444 | 233 | On timer
LCSB00877 | Multifuge Sorvall Legend_XTR | 13.3 | 319.2 | 800 | off at the end of the day
LCSB01006 | Countess II Automated Cell Counter | 5 | 120 | 11
LCSB00453 | Primovert Inverted Microscope | 0.1 | 2.4 | 33
LCSB01713 | Microcentrifuge Micro Star 12 | 3.2 | 76.8 | 16
| Computer screen |  |  | 20.6
LCSB00777 | Vacuubrand BSC pump Professionnal G | 91 | 2184
| charger | 0.1 | 2.4
LCSB00521 | centrifuge 5424R | 5.8 | 139.2 | 129
LCSB00730 | Thermomixer Comfort | 5 - 60(keep warm) | 120 - 1440 | 132
LCSB00787 | Li-Cor Odyssey 2800FC | 38 | 912
| small portable brady printer | 0.5 | 12
LCSB00998 | Thermocycler Biometra Tprofessionnal | 6 | 144
LCSB00608 | Roller mixer Stuart SRT9 |  | 0 | 20
LCSB01737 | Bio-Rad PowerPac Basic | 5 | 120
LCSB01734 | VWR Standrad Orbital Shaker STD3500 |  |  | 8.5
LCSB02035 | Thermomixer compact | 5.9 - 6.3 (keep warm) | 141.6 - 151.2 | 10.5
LCSB01742 | Heidolph - Heating stirrer | 2.8 | 67.2 | 4.8
LCSB1743 | IKA Mixer Rocker 2D | 1 | 24 | 3
LCSB00370 | Mettler Toledo - Analytical Balance XS4002S | 5 | 120
LCSB00369 | Mettler Toledo - Analytical Balance XP205DR | 5 | 120
LCSB00909 | Agilent - AriaMX RT PCR | 54.6 | 1310.4
LCSB00871 | Autoclave Laboclav 100 MSLV FA | 56 | 1344
LCSB00414 | Tecan - Microplate Reader Infinite M200Pro | 46.2 | 1108.8
LCSB00194 | Spectrophotometer Specord 210Plus BU | 80 | 1920
LCSB00394 | Vacuubrand - vacuum pump RZ9 for lyophilisator | 614 | 14736
LCSB00393 | Labconco - Lyophilisator FreeZone 2.5 Plus | 6.8 | 163.2
LCSB00094 | Branson - Digital Snifier 250D | 30 | 720
LCSB00366 | Precellys 24 | 29 | 696
LCSB02072 | Cryolys Evolution | 22 | 528
LCSB01345 | BSC LamSystem BMB-II SAVVY SL Class II | 88 | 2112 | 370
LCSB02057 | SpectraMax iD3 | 2.2 | 52.8 | 76
LCSB00139 | Spectrophotometer Genesys G10S | 19 | 456
LCSB001246 | Casy - Cell Counter and Analyser | 13 | 312
LCSB00046 | Retsch - Cryo broyeur MM400 | 9 | 216
LCSB01612 | ILMVAC - Membrane Pump MPC 601 |  |  | 55
LCSB00131 | Mettler Toledo - pHmeter Seven Easy | 2 | 48 | 328
LCSB02093 | Qubit 2.0 | 1.7 | 40.8
LCSB00377 | Titer PlaterShaker |  |  | 14
LCSB00048 | Bioanalyser Caliper 2100 | 17.3 | 415.2
LCSB00248 | Minispin Centrifuge | 2.5 | 60
| Zebra | 2 | 48
LCSB00783 | Labchip GXII Touch HT | 2.6 | 62.4
LCSB00146 | HANFF - biochemvacuucenter BVC21 NT vario | 4 | 96
LCSB00247 | IKA - Mixer MS3B | 3 | 72
LCSB01113 | Mixer Edmund - Tilt Shaker WS 10 |  |  | 23
LCSB00782 | Rocje - Lightcycler 480 II | 100 | 2400
| Computer lightcycler | 23.5 | 564
LCSB01649 | iBlot 2 | 9 | 216
LCSB02074 | Mettler Toledo - pHmeter Seven Compact | 2 | 48
LCSB01934 | Thermocycler Biometra Tadvanced 96 | 9.5 | 228
LCSB02080 | Jess Western Blotting | 60 | 1440
| Jess Screen | 0.6 | 14.4
LCSB02025 | Bandelin Sonoplus GM2070 | 7 | 168
LCSB02024 | Bandelin Sonorex Super DK255 | 300 | 7200
LCSB01928 | Centrifuge 5425R | 6 | 144
LCSB02002 | VWR - Megastar 4.0 R centrifuge | 7.5 | 180
LCSB02015 | StepOne Plus RT PCR | 163 | 3912
LCSB01916 | NanoDrop One | 8 | 192
LCSb01999 | SpectraMax i3X | 35 | 840
LCSB02011 | Cary Eclipse Fluorescence Spectrophotometer | 33 | 792
LCSB02012 | Cary Temperatur Controller |  |  | 70
LCSB02017 | GFL - Incubator Shaker 3032 |  |  | 35
| CellDrop DeNovix | 8.5 | 204
LCSB1995 | Evos XL Core | 16 | 384
| Mea System | 32 | 768